|  |  |
| --- | --- |
| Description: Description: O:\LOGOS\DICOM\DICOM LOGO - MEDIUM.tif | **1300 North 17th Street, Suite 1752 Arlington, VA 22209, USA**  **+1-703- 841-3281**  [http://dicom.nema.org](http://dicom.nema.org/)  E-mail: [**dicom@medicalimaging.org**](mailto:dicom@medicalimaging.org) |

MINUTES-tcon

###### DICOM WORKING GROUP SIX

(Base Standard)

**Sept. 10, 2013**

**Members Present Represented by**

Agfa Healthcare Robert Horn

Konica Minolta Med. Imaging Michael Laconti

Philips Healthcare Bas Revet

Toshiba MRI USA Kevin O’Donnell

**Members Not Present Voting Representative**

ACR James Philbin

\*Carl Zeiss Medical Software Tobias Kurzke

GE Healthcare Andrei Leontiev

JIRA Makoto Suzuki

\*Merge Healthcare Ronald Cowan

PixelMed David Clunie

Siemens Healthcare Bjorn Nolte

**Alternate Voting Representatives,**

**Observers, Others Present Affiliation**

Bowman, Stefan WG-07/Raysearch

Carr, Chris WG-08/RSNA

Pandipotla, Balaji Philips Healthcare

Smith, Charles WG-03/Numa, Inc.

Vastagh, Stephen MITA

Viswanathan, Satish Philips Healthcare

**Presiding Officer:** Bas Revet, Chair

# **Opening**

The Chair called the meeting to order at 09.00. Members approved the agenda: Sup 121 for PC. The Secretary reviewed the antitrust rules.

# **Sup 121 (Protocol Storage – now for CT)**

Editor of the Supplement, K. O’Donnell presented the draft. He noted that at the last WG-06 meeting the review stopped due to lack of time before reaching the end of Part 3 changes.

He summarized that there will be private tags in this Supplement, unavoidably; however, there will be a private tag dictionary to encourage documentation.

Detailed discussion followed on sections of Sup 121. The highlights included:

* The structure of the Specification Module(s) and the contents of the Acquisition and Reconstruction modules.
* Handling multiple beam (from multiple tubes or single tubes)
* The example section will be updated prior to Public Comment release to reflect changes to the normative text.

C. Smith, Editor of Sup 159 (Contrast Administration) asked whether Sup 121 accommodates contrast administration or contrast protocol. K.O’Donnell noted that they are deliberately not in the current base draft. Depending on the outcome of Sup 159, we could add a reference from 121 protocol instances to 159 instances, or include relevant modules, or simply point out that contrast related text can be included in the instructions sequence.

HOMEWORK: The Editor will make changes from last WG-06 meeting and from this t-con and prepare the Public Comment Publication Draft.

NEXT STEPS: Due to lack of quorum, no action was taken at this t-con. The Editor will post the PC Publication draft to the meeting folder before the next WG-06 meeting. WG-06 will take a vote on release for Public Comment at the meeting. The Chair noted that substantially the Draft is ready for PC; however, editorial changes need to be completed.

# **Adjournment**

The meeting was adjourned at 10.30.

Reported by: Stephen Vastagh, Secretary

Reviewed by legal counsel: CRS 2013-09-13